Problem topics for the State Bachelor Exam

study field “Information and Automation Technology"

Instrumentation Technology in Automatic Control

- Static and dynamic properties of instruments. Static characteristics, dynamic error, cut-off frequency.

- Signal transformation - transformation chain structure of control signal transfer.

- Unified signal

- Distance and position measurement (potentiometric, LVDT and incremental), accelerometers.

- Force and torque measurement. Types of strain gauges, construction of transducers. Compensation of influence of temperature changes.

- Sensors used for a level of liquids and for a pressure measurement. Volume and speed based flowmeters.

- Temperature – resistive sensors (Pt100, thermistors), thermocouples.

- Power sources and distribution lines in pneumatics

- Pneumatic amplifier with feedback - application in transmitters, controllers and actuators

- Power amplifiers - transducers P/E, E/P, principle of functions

- Diaphragm and piston actuators - corrector function

- Pneumatic motors, single and double acting, rotating and rocking

- Pneumatic distributor, design, types, symbols

- Logical modules and their using for controlling (locking, more places operating etc.)

- Multi-driver system control (stepper diagram, operating signals diagram)

- Electromagnetic relays, construction properties. Timing relays. Design of combinatory and sequential logical circuits using relays.

- Electronic logical gates. Most important TTL and CMOS circuits and their parameters. Open collector circuits, three state output. Design of logic combinatory circuits, their design using basic logical gates, multiplexers, memories PROM, EPROM.

- Sequential logical circuits. Frequent types of flip-flops. Synthesis of asynchronous and synchronous sequential circuits. Counters, frequency dividers, shift registers, serial/parallel and parallel/serial converters.

- Hardware and software controllers and their application for complex sequential logical circuit design

- Interfacing of logical control systems to process, voltage and power converting. Galvanic separation of input and output binary signals. Connecting change-over, ON/OFF contacts, monostable flip-flop circuits. Input signal edges forming. Schmitt's flip-flop circuit.

- Serial communication, synchronous and asynchronous transfer, serial interface current loop, RS 232C, RS485/422 and buses designed on these standards. Serial bus I2C, CAN, protocol HART.

- Data acquisition PC laboratory cards, typical structure and parameters of universal DAC.

- Operation amplifiers, behaviour of real OA. Basic connection of inverting, non-inverting, summing voltage amplifier. Inverting integrator and derivative - transfer function, frequency response. Converting voltage signal to current signal.

- DC servomotors with separate excitation. Mathematical description and transfer function. Servomotors using induction motors. DC and AC contact-less power switches (SSR). Voltage converters. Using compact power amplifiers and transistors for small DC motors driving. Controlled rectifiers, basic connection and behaviour.